## Slide 1: Course 0 World of Electrician
Topic 1- What is an electrician?

## Slide 2: Introduction
Welcome, you’ve taken the first step to learning all about electricity and the people who work with it. So, what is the big deal about electricity? Why do we even need it in society?
Click on the video below for more information.
Placeholder for Vid01:Importance of electricy in society.

## Slide 3: How electricity works
As you saw in the video, electricity is a very important part of our lives and our economy but how does it actually work?
Click on the video to see how electricity works.
https://www.youtube.com/watch?v=oB1v-wh7EGU
Notes: Notes for interactivity:
Video should be embeded to show the link provided on the slide.

## Slide 4: Introduction
Now that know a little bit about electricity and how it works, we are going to have a look at the people whose job it is to work with electricity. These people are called electricians.
Placeholder for Vid01:Importance of electricy in society.
Watch this video to learn more about how important electricity and the people who work with it are to our daily lives and South Africa’s economy.
Notes: Note for interactivity:
When learner clicks on video it should appear as full screen.

## Slide 5: What does an electrician do?
As we said previously, an electrician is someone who is qualified to work with electricity. More specifically, an electrician is a qualified person who installs and maintains electrical equipment and fixtures. On the next page you will see some examples of the types of work that electricians do.

## Slide 6: Examples of what electricians do
Placeholder image: Electrician reviewing current systems
Placeholder image: Electrician installing power systems, lighting, fire protection, security and data-network systems
Placeholder image: Electrician checking systems regularly to make sure that they are working efficiently and safely
Placeholder image: Electrician building and installing control panels that operate the electrical systems inside buildings
Placeholder image: Electrician repairing and maintaining electrical motors and other machinery like transformers
Placeholder image: Electrician installing and maintaining street lighting and traffic management systems.
Reviewing current systems.
Installing power systems, lighting, fire protection, security and data-network systems.
Checking systems regularly to make sure that they are working efficiently and safely.
Building and installing control panels that operate the electrical systems inside buildings.
Repairing and maintaining electrical motors and other machinery like transformers.
Installing and maintaining street lighting and traffic management systems.

## Slide 7: Test yourself
What is the definition for an electrician?
An electrician is a person who installs and maintains electrical equipment
An electrician is person who uses electricity
An electrician is a person who installs wires and cables
An electrician is a person who knows about electricity.
Choose the correct definition from these options and click submit.
Notes: Notes for interactivity:
Multiple choice, one correct answer.
Mark allocation: 1
Correct answer is in italics.
Note for interactivity:
Graded question, multiple choice, one answer
Feedback for correct answer: Well done. You are correct.
Feedback for incorrect answer: Oops, not quite. An electrician is a person who installs and maintains electrical equipment.

## Slide 8: Different types of voltage
Working with electricity is very dangerous. For this reason the higher the voltage (strength or power) of electricity, the more qualified you have to be to work type of voltage Here are the different levels of voltage:
Low voltage: Below 1000V
Medium voltage: Above 1000v but below 44000V
High voltage: 44000V is high voltage
Placeholder image: Electrician working with low voltage item ie light switches, domestic appliances like geyser
Placeholder image: Electrician working with medium voltage item ie. transformers
Placeholder image: Electrician working with high voltage lines

## Slide 9: Qualification levels
Here are the qualifications you need to work with the different levels of voltage.
Placeholder infographic:
Illustration of three electricians and the voltages that they work with.
Low voltage- Qualified electrician with trade test certificate
Medium voltage- Qualified electrician with trade test as well as further qualifications such as switching skills programmes and regulation courses
High voltage- Qualified electrician with trade test as well as further qualifications such as switching skills programmes and regulation courses

## Slide 10: Areas of specialisation
As well as being able to work with different types of voltage, as an electrician you can choose to specialise in a particular area or sector of industry. Here are 6 people working in different areas of specialisation.
Maintenance electrician
Image of Thuli
(black woman young)
Construction electrician
Image of James
(coloured man)
Engineering electrician
Image of Rajespree
(Indian woman)
Residential electrician
Image of Johan
(white man)
Mining electrician
Image of Sarah
(coloured woman)
Line installer or repairer
Image of Cedrick
(black man)
Click on each of the images below to find out more.
Notes: Note for interactivity:
When learner clicks on each of the blocks they should be taken to a separate page with a video about each person.
Note for design:
Image and description needs to look like a job ID card with an image of the person and their job description.

## Slide 11: Meet (insert name)- Maintenance Electrician
Placeholder for Vid02:What it’s like to be an electrician
Back to
main page
Notes: Note for interactivity:
Insert a button that says “Back to main page” when clicked it needs to take learner back to Slide 5 with the menu of 6 specialisations.

## Slide 12: Meet (insert name)- Construction Electrician
Placeholder for Vid03:What it’s like to be an electrician
Back to
main page
Notes: Note for interactivity:
Insert a button that says “Back to main page” when clicked it needs to take learner back to Slide 5 with the menu of 6 specialisations.

## Slide 13: Meet (insert name)- Engineering Electrician
Placeholder for Vid03:What it’s like to be an electrician
Back to
main page
Notes: Note for interactivity:
Insert a button that says “Back to main page” when clicked it needs to take learner back to Slide 5 with the menu of 6 specialisations.

## Slide 14: Meet (insert name)- Residential Electrician
Placeholder for Vid04:What it’s like to be an electrician
Back to
main page
Notes: Note for interactivity:
Insert a button that says “Back to main page” when clicked it needs to take learner back to Slide 5 with the menu of 6 specialisations.

## Slide 15: Meet (insert name)- Mining Electrician
Placeholder for Vid05:What it’s like to be an electrician
Back to
main page
Notes: Note for interactivity:
Insert a button that says “Back to main page” when clicked it needs to take learner back to Slide 5 with the menu of 6 specialisations.

## Slide 16: Meet (insert name)- Line installer or repairer
Placeholder for Vid06:What it’s like to be an electrician
Back to
main page
Notes: Note for interactivity:
Insert a button that says “Back to main page” when clicked it needs to take learner back to Slide 5 with the menu of 6 specialisations.

## Slide 17: Share your thoughts
Which of the 6 specialisations was the most interesting to you and why?
Image
Maintenance electrician
(black woman )
Image
Construction electrician
(coloured man)
Image
Engineering electrician
(Indian woman)
Image
Residential electrician
(white man)
Image
Mining electrician
(coloured woman)
Image
Line installer or repairer
(black man)
Answer block
Type your response in the block provided and click submit.
Notes: Notes for design:
Use smaller versions of the images used on Slide 4.
Notes for interactivity.
Survey question, space for learner to type their response in the block and then click submit.

## Slide 18: Question 3
In the videos, the electricians mentioned skills that electricians need to have. choose the ones you remember from this list:
Content Development Placeholder
Insert skills/traits mentioned by 6 video interviewees.
Skills
The learned capacity to carry out specific tasks.
Not sure what a skill is? Click here to find out
Check the skills you remember from this list.
Notes: Notes for interactivity.
See comment on side of the slide
Survey question, checkboxes. Learner should be able to tick many options.

## Slide 19: Question 4
Do you have the right skills to be an electrician?
Placeholder skills
Placeholder skills
Placeholder skills
Placeholder skills
Placeholder skills
Placeholder skills
These are the skills
I already have
Drag and drop the skills you think you already have in the box below.
Notes: Notes for design:
This slide needs a nice design
Notes for interactivity.
Drag and drop question, not for marks. Learner should be able to drag the skills onto the box and have them appear in the box.

## Slide 20: Question 5
In the videos, the electricians mentioned personality traits that electricians need to have.
Content Development Placeholder
Insert skills/traits mentioned by 6 video interviewees.
Personality trait
They are your habitual patterns of behaviour, temperament and emotion.
Not sure what a personality trait is? Click here to find out
Tick the traits you remember from this list.
Notes: Notes for interactivity.
See comment on side of the slide
Survey question, checkboxes. Learner should be able to tick many options.

## Slide 21: Question 6
Do you have the right personality traits to be an electrician?
Placeholder trait
Placeholder trait
Placeholder trait
Placeholder trait
Placeholder trait
Placeholder trait
These are the personality traits I already have
Drag and drop the skills you think you already have in the box below.
Notes: Notes for design:
This slide needs a nice design
Notes for interactivity.
Drag and drop question, not for marks. Learner should be able to drag the traits onto the box and have them appear in the box.

## Slide 22: Summary of skills and traits
Here is the list of the skills and personality traits that the working electricians identified:
Now that you know a bit more about what electricians do, are you ready to learn more?
Placeholder skills- insert once videos are completed
Placeholder personality traits-insert once videos are completed.
Notes: Notes for interactivity.
Suvey question, checkboxes.

## Slide 23: Summary of skills and traits
Here is the list of the skills and personality traits that the working electricians identified:
The final thing you are going to do is a quick quiz. Click on the button below to get started.
Placeholder skills- insert once videos are completed
Placeholder personality traits-insert once videos are completed.
Take quiz
Notes: Notes for interactivity.
When learner clicks on quiz page they should be taken to the beginning of the quiz.

## Slide 24: Quiz
This quiz is out of 25 marks.
You need to get at least 23/25
If you get less, we suggest that you work through the materials again before moving onto the next topic.

## Slide 25: Question 1
What do we call qualified people who work with electricity?
Builder
Electromagnetic
Electrician
Miner
Choose the correct definition from these options and click submit.
Notes: Notes for interactivity:
Multiple choice, one correct answer.
Mark allocation: 1
Correct answer is in italics.
Note for interactivity:
Graded question, multiple choice, one answer
Feedback for correct answer: Well done. You are correct. A qualified person who works with electricity is called an electrician.
Feedback for incorrect answer: Oops, not quite. A qualified person who works with electricity is called an electrician

## Slide 26: Question 2
We know that an electrician is someone who works with electricity but what are they responsible for in their jobs?
An electrician is a person who installs and maintains electrical equipment
An electrician is person who uses electricity
An electrician is a person who installs wires and cables
An electrician is a person who knows about electricity.
Choose the correct definition from these options and click submit.
Notes: Notes for interactivity:
Multiple choice, one correct answer.
Mark allocation: 1
Correct answer is in italics.
Note for interactivity:
Graded question, multiple choice, one answer
Feedback for correct answer: Well done. You are correct.
Feedback for incorrect answer: Oops, not quite. An electrician is a person who installs and maintains electrical equipment.

## Slide 27: Question 3
What are some examples of practical things that electricians do?
Drag and drop all the activities onto the image of the electrician.
Reviewing current systems.
Installing power systems, lighting, fire protection, security and data-network systems.
Checking systems regularly to make sure that they are working efficiently and safely.
Building and installing control panels that operate the electrical systems inside buildings.
Repairing and maintaining electrical motors and other machinery like transformers.
Installing and maintaining street lighting and traffic management systems.
Placeholder image: Electrician
Lay foundations and trench for insulation pipes.
Write the curriculum for new electricians.
Notes: Notes for interactivity:
Drag and drop: 7 correct answers
Mark allocation: 7
Correct answer is in italics.
Feedback for correct answer: Well done. You are correct.
Feedback for incorrect answer: Oops, not quite. Would you like to try again? (Give them an opportunity to try again)

## Slide 28: Question 4
We know that an electrician is someone who works with electricity but what are they responsible for in their jobs?
An electrician is a person who installs and maintains electrical equipment
An electrician is person who uses electricity
An electrician is a person who installs wires and cables
An electrician is a person who knows about electricity.
Choose the correct definition from these options and click submit.
Notes: Notes for interactivity:
Multiple choice, one correct answer.
Mark allocation: 1
Correct answer is in italics.
Note for interactivity:
Graded question, multiple choice, one answer
Feedback for correct answer: Well done. You are correct.
Feedback for incorrect answer: Oops, not quite. An electrician is a person who installs and maintains electrical equipment.

## Slide 29: Question 5
What voltage is considered low?
Below 1000V
Below 1500V
Below 2020 V
Choose the correct answer from the options below:
Notes: Notes for interactivity:
Multiple choice, one correct answer.
Mark allocation: 1
Correct answer is in italics.
Note for interactivity:
Graded question, multiple choice, one answer
Feedback for correct answer: Well done. You are correct.
Feedback for incorrect answer: Oops, not quite. Low voltage is voltage below 1000V

## Slide 30: Question 6
What voltage is considered medium?
Above 10000V but below 4000V
Above 2000V but below 43000V
Above 1000V but below 44000V
Choose the correct answer from the options below:
Notes: Notes for interactivity:
Multiple choice, one correct answer.
Mark allocation: 1
Correct answer is in italics.
Note for interactivity:
Graded question, multiple choice, one answer
Feedback for correct answer: Well done. You are correct.
Feedback for incorrect answer: Oops, not quite. Medium voltage is above 1000V but below 44000 V

## Slide 31: Question 7
What voltage is considered high?
Anything above 44000V
Anything above 42000V
Anything above 4000V
Choose the correct answer from the options below:
Notes: Notes for interactivity:
Multiple choice, one correct answer.
Mark allocation: 1
Correct answer is in italics.
Note for interactivity:
Graded question, multiple choice, one answer
Feedback for correct answer: Well done. You are correct.
Feedback for incorrect answer: Oops, not quite. High voltage is anything above 44000 V

## Slide 32: Question 8
What kind of qualifications does a person need to be able to work with medium voltage?
Trade test
Trade test and certificate of compliance
Trade test as well as further qualifications such as switching skills programmes and regulation courses
Choose the correct answer from these options and click submit.
Notes: Notes for interactivity:
Multiple choice, one correct answer.
Mark allocation: 1
Correct answer is in italics.
Note for interactivity:
Graded question, multiple choice, one answer
Feedback for correct answer: Well done. You are correct.
Feedback for incorrect answer: Oops, not quite. To work with medium voltage a person needs to have a trade test as well as further qualifications such as switching skills programmes and regulation courses

## Slide 33: Question 9
What types of jobs do electricians do for low, medium and high voltage?
Match the correct voltage to the correct job.
Placeholder image: Electrician working with low voltage item ie light switches, domestic appliances like geyser
Placeholder image: Electrician working with medium voltage item ie. transformers
Placeholder image: Electrician working with high voltage lines
Low voltage
Medium voltage
High voltage
Low voltage
Medium voltage
High voltage
Notes: Notes for interactivity:
Multiple choice, one correct answer.
Mark allocation: 3
Note for interactivity:
Drag and drop onto the hotspots underneath each image
Feedback for correct answer: Well done. You are correct.
Feedback for incorrect answer: Oops, not quite. To work with low voltage a person needs to be a qualified electrician with a trade test

## Slide 34: Question 10
What are the 6 areas that an electrician can specialise in?
Maintenance electrician
Construction electrician
Driving electrician
Residential electrician
Testing electrician
Engineering electrician
Mining electrician
Line installer or repairer
Choose the 6 correct areas from the options below.
Image
Maintenance electrician
(black woman )
Image
Construction electrician
(coloured man)
Image
Engineering electrician
(Indian woman)
Image
Residential electrician
(white man)
Image
Mining electrician
(coloured woman)
Image
Line installer or repairer
(black man)
Notes: Notes for interactivity:
Checkboxes
Mark allocation: 6
Correct answers is in italics.
Note for interactivity:
Feedback for correct answer: Well done. You are correct.
Feedback for incorrect answer: Oops, not quite. The 6 areas of specialization are:
Maintenance electrician
Construction electrician
Driving electrician
Residential electrician
Testing electrician
Engineering electrician
Mining electrician
Line installer or repairer

## Slide 35: Question 11
In the 6 videos the electricians mentioned skills that electricians need to have. What were some of the skills mentioned?
Insert skills
Insert skills
Insert skills
Choose the correct skills from these options and click submit.
Notes: Notes for interactivity:
Multiple choice, one correct answer.
Mark allocation: 1
Correct answer is in italics.
Note for interactivity:
Graded question, multiple choice, one answer
Feedback for correct answer: Well done. You are correct.
Feedback for incorrect answer: Oops, not quite.

## Slide 36: Question 12
In the 6 videos the electricians mentioned personality traits that electricians need to have. What were some of the skills mentioned?
Insert personality traits
Insert personality traits
Insert personality traits
Choose the correct personality traits from these options and click submit.
Notes: Notes for interactivity:
Multiple choice, one correct answer.
Mark allocation: 1
Correct answer is in italics.
Note for interactivity:
Graded question, multiple choice, one answer
Feedback for correct answer: Well done. You are correct.
Feedback for incorrect answer: Oops, not quite.

## Slide 37: Vid01: Importance of electricity in society
Animated video using a tool like GoAnimate. Black and white hand drawn images with a voice over.
Script for voice over:
Think about your day so far. Did you wake up using the alarm on your phone, switch on the lights and make yourself a cup of coffee or tea? Did you have a warm shower or listen to the radio? What do all of these things have in common? They needed electricity. This means we need electricity to make our daily lives more comfortable.
Thinking outside of our homes, mines use electricity to help remove precious materials from the earth. Industry, like factories use electricity to be able produce goods and materials. The more goods they produce the more electricity they need. You can even say that country’s economy is linked to electricity use because the more the economy grows the more electricity is needed. That’s why it’s so important that we have men and women who are skilled at working with this valuable resource.
Notes: Video script for placeholder on Slide 3.

## Slide 38: Vid02:What it’s like to be an electrician – (Maintenance Electrician)
Unscripted- should be informal.
Must show the person (real person not actor) in their workplace. They should answer the following questions:
What do you do?
Why did you choose this specialisation?
What training did you undergo?
What skills does an electrician need?
What personality traits does an electrician need?
Describe a typical day on the job
What do you love the most about your job?
What are some of the challenges of your job?
What advice would you give to someone who wants to do the same specialisation as you?

## Slide 39: Vid03:What it’s like to be an electrician – (Construction Electrician)
Unscripted- should be informal.
Must show the person (real person not actor) in their workplace. They should answer the following questions:
What do you do?
Why did you choose this specialisation?
What training did you undergo?
What skills does an electrician need?
What personality traits does an electrician need?
Describe a typical day on the job
What do you love the most about your job?
What are some of the challenges of your job?
What advice would you give to someone who wants to do the same specialisation as you?

## Slide 40: Vid04:What it’s like to be an electrician – (Engineering Electrician)
Unscripted- should be informal.
Must show the person (real person not actor) in their workplace. They should answer the following questions:
What do you do?
Why did you choose this specialisation?
What training did you undergo?
What skills does an electrician need?
What personality traits does an electrician need?
Describe a typical day on the job
What do you love the most about your job?
What are some of the challenges of your job?
What advice would you give to someone who wants to do the same specialisation as you?

## Slide 41: Vid05:What it’s like to be an electrician – (Residential Electrician)
Unscripted- should be informal.
Must show the person (real person not actor) in their workplace. They should answer the following questions:
What do you do?
Why did you choose this specialisation?
What training did you undergo?
What skills does an electrician need?
What personality traits does an electrician need?
Describe a typical day on the job
What do you love the most about your job?
What are some of the challenges of your job?
What advice would you give to someone who wants to do the same specialisation as you?

## Slide 42: Vid06:What it’s like to be an electrician – (Mining Electrician)
Unscripted- should be informal.
Must show the person (real person not actor) in their workplace. They should answer the following questions:
What do you do?
Why did you choose this specialisation?
What training did you undergo?
What skills does an electrician need?
What personality traits does an electrician need?
Describe a typical day on the job
What do you love the most about your job?
What are some of the challenges of your job?
What advice would you give to someone who wants to do the same specialisation as you?

## Slide 43: Vid07:What it’s like to be an electrician – (Line installer/repairer)
Unscripted- should be informal.
Must show the person (real person not actor) in their workplace. They should answer the following questions:
What do you do?
Why did you choose this specialisation?
What training did you undergo?
What skills does an electrician need?
What personality traits does an electrician need?
Describe a typical day on the job
What do you love the most about your job?
What are some of the challenges of your job?
What advice would you give to someone who wants to do the same specialisation as you?