## Slide 1: Three Phase Motors
Topic 3: Connecting and Starting Three Phase Induction Motors

## Slide 2: Assumed prior learning
05_01_00
05_01_02
05_02_01
Notes: Note for navigation on site:
This information needs to be taken into account and needs to stated on the LMS, perhaps as part of the introduction?

## Slide 3: Outcomes
By the end of this unit the learner will:

## Slide 4: Unit 3.4: Manual Three Phase Sequence Starter

## Slide 5: Introduction
A common use of three phase motors is to drive conveyor belts. If there are long distances involved or sharp changes in transport direction, two or more conveyor belts are needed.
Notes: Img01 = image of a conveyor belt on a mine or in a factory e.g. http://ambriefonline.com/wp-content/uploads/2015/11/conveyor-belt-.jpg

## Slide 6: Which one should be started first?
Think about this scenario. On a coal mine, 2 conveyors are needed to transport coal from the mine to the storage yard. The coal is being transported in the direction indicated.
Click on the conveyor that you think should always be started first.
Notes: Img02 = image (photo or drawing) or 2 conveyors – one feeding the other coal – label the conveyors 1 and 2
Add 2 hotspots over the image (one over each conveyor).
Correct answer: Conveyor 2 should be started first
Feedback:
2 – That’s right. If we don’t make sure that conveyor 2 is started first, there is a chance that conveyor 1 will drop so much coal on it that the coal may fall off. Also, a big heap of coal on conveyor 2 would be heavy and would put undue strain on the motor driving it when we did try to start it. The motor may even trip or get damaged resulting in lost time and production.
1 – That is not correct. We need to make sure that conveyor 2 is started first. If not, conveyor 1 may drop so much coal on conveyor 2 that the coal may to fall off. Also, a big heap of coal on conveyor 2 would be heavy and would put undue strain on the motor driving it when we did try to start it. The motor may even trip or get damaged resulting in lost time and production.

## Slide 7: Which one should be stopped first?
Now click on the conveyor that you think should always be stopped first.
The coal is being transported in the direction indicated.
Notes: Img02 = image (photo or drawing) or 2 conveyors – one feeding the other coal - label the conveyors 1 and 2
Add 2 hotspots over the image (one over each conveyor).
Correct answer: Conveyor 1 should be started first
Feedback:
1 – That’s right. If we don’t make sure that conveyor 1 is stopped first or at the same time as conveyor 2, we run the risk of coal accumulating on conveyor 2.
2 – That is not correct. If we stop conveyor 2 first and conveyor 1 is still loading coal on conveyor 2, we run the risk of coal accumulating on conveyor 2. Either 1 must be stopped first or they must be stopped at the same time.

## Slide 8: What is motor sequencing?
In many situations, as we have just seen, it is necessary to make sure that motors are started and/or stopped in a very particular sequence. We can do this manually or automatically.
Click on the buttons to find out more about each of these.
Manual sequencing
Automatic sequencing
1
2
Notes: 1 = on click display the following popup – “Manual sequencing is when we prevent one motor being started or stopped until another motor is started or stopped by disabling the motor’s control circuit through an interlock with the other control circuit.”
2 = on click display the following popup = “Automatic sequencing is when motors are set to automatically start and/or stop in a defined sequence at defined times through the use of timers. We will cover this in the next unit.”

## Slide 9: Safety first
When you work with motors you must put your safety and the safety of others first. You must complete the necessary Hazard Identification and Control (HIAC) Form.
Get help with HIAC Forms
Need help with HIACs? Click the button to go to Topic X in The World of an Electrician
Notes: Img03 = https://cdn.pixabay.com/photo/2014/04/02/10/38/sign-304093_960_720.png
Button 01 = direct learner to Topic X in Course 0

## Slide 10: Before We Begin
Before you do any work on a motor, you must make sure that you have isolated and locked out the supply to the motor.
Learn about Isolating and Lock-Out Procedures
Make sure you know how to do this by referring to Topic X in The World of An Electrician.
Notes: Img04 = https://cdn.pixabay.com/photo/2016/07/01/22/38/industrial-safety-1492062_960_720.png
Button 01 = direct learner to Topic X in Course 0

## Slide 11: The main circuit
Draw your own main circuit for these 2 motors. Make sure to include a Motor Protection Circuit Breaker in the circuit as well the necessary overload relays. Have a look at the example if you need some help.
The main circuit for these 2 motors is basically the same as the DOL starter – one for each motor.
Example circuit
Notes: Img02 = image (photo or drawing) or 2 conveyors – one feeding the other coal - label the conveyors 1 and 2
Button01 open img05 (see brief) full screen.

## Slide 12: The main circuit
Take a picture of your main circuit and upload it to your online portfolio.
Choose image
Upload
Notes: Img06 = https://cdn.pixabay.com/photo/2016/01/03/00/43/upload-1118929_960_720.png
Button 01 – Launch file selection window
Button 02 – Upload file

## Slide 13: Wire up the main circuit
Using your main motor control circuit as a guide, wire a the main circuit for our two motors.
Click on the image to access the motor wiring simulator. Click on the button below if you would like to watch a video of the motor being wired.
Img07
Watch the motors being wired
Notes: Img07 = screenshot of Int01 (see brief)
Button01 = play Vid01 (see brief) full screen

## Slide 14: How do you control the motor?
We do not yet have any way to control the motor. We actually cannot even turn it on as there is no power to either coil yet. It is time to start wiring up the control circuit.
Watch the video to see how to wire up the control circuit with the start and stop buttons as well as the retaining and overload relay contacts.
Img08
Notes: Img08 = screenshot of Vid02 (see brief). Play video full screen.

## Slide 15: How do we get the motors sequenced?
We know that we need to interlock motors 1 and 2 in order to sequence them but the question is how.
Which of the following diagrams would ensure that motor 2 is always started first and if it is stopped, motor 1 also stops?
Img09a
Img09b
Img09c
A
B
D
Img09d
C
Notes: Img09a, 09b, 09c, 09d (see briefs)
MCQ
Correct answer is d – allow multiple chances
Feedback:
A – This is not correct. This is the the control circuit for the reversing starter. Either motor can be started and, once started, the other motor would not be able to start at all.
B – This is not correct. In this circuit, motor 1 cannot be started until motor is started BUT neither can motor 2 be started until motor 1 is started. Both motors would have to be started at exactly the same time for anything to run.
C – This is not correct but is almost there. In this circuit. Motor 2 cannot be started until motor 1 is started which is the other way around to what we want.
D – Well done! You got it. In this circuit, motor 1 cannot be started until motor is started. Also, motor 2 can run without motor 1 but as soon as motor 2 is stopped, motor 1 will also be stopped if it is running.

## Slide 16: Sequencing the motors
In order to sequence our motors to make sure motor 2 is always started first, we need to use a NO interlock between motors 2 and 1.
Watch the video to see how we wire the motor 2 NO contact into the motor 1 control circuit.
Img10
Notes: Img10 = screenshot of Vid03 (see brief). Play video full screen.

## Slide 17: Emergency!
It is always a good idea to have a single emergency stop button that is able to stop all the motors at once.
Watch the video to see how to connect an emergency stop button to the control circuit.
Img11
Notes: Img11 = screenshot of Vid04 (see brief). Play video full screen.

## Slide 18: A quick summary
Our control circuit for the Three Phase Sequence starter is complete. Here is a short summary of what we did.
Click on the image to view a full screen summary of how we wired up our motor control circuit.
Img12
Notes: Img12 = screenshot of the first part of Img12 (see brief). On click open Img12 full screen.

## Slide 19: Try it yourself
Have a go wiring a virtual three phase Sequence starter control circuit. You need to connect up the control circuit.
Click on the image to access the motor wiring simulator. When you are done, print the circuit so you can upload a copy.
Img13
Notes: Img13 = screenshot of Int02 (see brief)

## Slide 20: Upload your completed circuit
Print out your simulated completed motor circuit and upload a copy to your online portfolio.
Choose image
Upload
Notes: Img14 = https://cdn.pixabay.com/photo/2016/01/03/00/43/upload-1118929_960_720.png
Button 01 – Launch file selection window
Button 02 – Upload file

## Slide 21: The control circuit
Now draw your own control circuit for a this sequence three phase motor starter. Then take a picture of your circuit and upload it to your online portfolio. Make sure to include a Motor Protection Circuit Breaker in the circuit as well.
Choose image
Upload
Notes: Img15 = https://cdn.pixabay.com/photo/2016/01/03/00/43/upload-1118929_960_720.png
Button 01 – Launch file selection window
Button 02 – Upload file
Button03 – Open Img07 (se brief) full screen

## Slide 22: Ready to try design your own circuits?
Put what you have learnt so far into practice by designing your own control circuits to meet the requirements of the following scenarios?
Click on each box to open the scenario.
Scenario 1
Scenario 2
1
2
Notes: Button01 = on click open scenario 1 in a pop-up window (slide23).
Button02 = on click open scenario 2 in a pop-up window (slide 27).
On completion of each scenario mark the scenario as complete by dimming the box

## Slide 23: The conditions
Motor M1 must start before motor M2 can be started.
Motor M2 can be stopped without stopping motor M1.
Motor M1 cannot stop while motor M2 is still running.
If M1 overload trips M2 must stop as well.
An emergency stop must stop both motors.
Work out and draw the control circuit for 2 motors for these conditions:
Scenario 1
Notes: Colour code the slides of scenario 1 in some way

## Slide 24: Wire it up
Now, test your scenario 1 control circuit by wiring it up using the motor wiring simulator.
Click on the image to access the motor wiring simulator.
Img16
Scenario 1
Notes: Img16 = screenshot of Int03 (see brief)

## Slide 25: Upload your circuit diagram
Take a photo of your completed control circuit for scenario 1 and upload it to your online portfolio.
Choose image
Upload
Scenario 1
Notes: Img17 = https://cdn.pixabay.com/photo/2016/01/03/00/43/upload-1118929_960_720.png
Button 01 – Launch file selection window
Button 02 – Upload file

## Slide 26: How did you do?
Did you manage to design the control circuit for scenario 1? Compare your design with this one.
Watch the video to see how to design the control circuit for scenario 1.
Img18
Scenario 1
Notes: Img18 = screenshot of Vid05 (see brief). Play video full screen.

## Slide 27: The conditions
Work out and draw the control circuit for 2 motors for these conditions:
Motor M2 can only be started after motor M1 is running.
The emergency stop button must stop both motors at all times.
When both motors are running, they can be stopped independently by their respective stop buttons.
Motor M1 cannot be restarted unless motor M2 is stopped.
Scenario 2

## Slide 28: Wire it up
Now, test your scenario 2 control circuit by wiring it up using the motor wiring simulator.
Click on the image to access the motor wiring simulator.
Img19
Scenario 2
Notes: Img19 = screenshot of Int04 (see brief)

## Slide 29: Upload your control circuit diagram
Take a photo of your completed control circuit for scenario 2 and upload it to your online portfolio.
Choose image
Upload
Scenario 2
Notes: Img20 = https://cdn.pixabay.com/photo/2016/01/03/00/43/upload-1118929_960_720.png
Button 01 – Launch file selection window
Button 02 – Upload file

## Slide 30: How did you do?
Did you manage to design the control circuit for scenario 2? Compare your design with this one.
Watch the video to see how to design the control circuit for scenario 2.
Img20
Scenario 2
Notes: Img20 = screenshot of Vid06 (see brief). Play video full screen.

## Slide 31: Image Briefing – Img05
L1
L2
L3

## Slide 32: Video Briefing – Vid01
Video of an expert electrician explaining each part of the main motor circuit, what all the symbols mean and how to wire it.
Explain and show
  The need for motor circuit protection including MPCB and overload relay
  Which connections need to be connected to which.
Notes: Use the redrawn Img09 in the video.

## Slide 33: Interactive Briefing – Int01 (1 of 3)
Instructions
To add a wire between 2 points, click the starting connection and then click the ending connection.
To delete a wire, click on it and then click the Delete icon in the top right corner.
To change the colour of a wire, click on it and then click on the colour.
To move a component, click and drag it to a new position.
Practice
Connect the motor protection circuit breaker up to the contactor
Test
Forward
L1
L2
L3
T1
T2
T3
A1
A2
NO
NO
NC
NC
MPCB
L1
L2
L3
T1
T2
T3
Notes: White circles on components are wire connection points
Make wires curve around components
When connected components are moved, have wires stay connected
On click of first connection, highlight connection point and start to draw wire and have end of wire follow finger/mouse until next connection. Use 2 second time delay on second connection before making the connection. When second connection is selected, highlight it also.

## Slide 34: Interactive Briefing – Int04 (2 of 3)
Contactor1
L1
L2
L3
T1
T2
T3
A1
A2
NO
NO
NC
NC
MPCB1
L1
L2
L3
T1
T2
T3
Test
Instructions
Print
Wire the 3P motor according to the main circuit diagram.
R
W
B
Overload Relay1
L1
L2
L3
T1
T2
T3
Contactor2
L1
L2
L3
T1
T2
T3
A1
A2
NO
NO
NC
NC
3M1
A1
B1
C1
E
Circuit Diagram
Overload Relay1
L1
L2
L3
T1
T2
T3
NO
NO
NC
NC
NO
NO
NC
NC
MPCB1
L1
L2
L3
T1
T2
T3
3M2
A1
B1
C1
E
Notes: Fix position of power
Fix position of motor and terminals
Present other components unconnected and unpositioned.
Button01 = on click test circuit connections. Highlight all connections that are incorrect. See next slide for all correct connections
Button02 = display the instructions on previous slide in a pop-up window.
Button03 = print a jpg or pdf version of the final circuit for the learner to download and save.
Button04 = open the main circuit diagram (see Img05)

## Slide 35: Interactive Briefing – Int04 (2 of 3)
Contactor1
L1
L2
L3
T1
T2
T3
A1
A2
NO
NO
NC
NC
MPCB1
L1
L2
L3
T1
T2
T3
Test
Instructions
Print
Wire the 3P motor according to the main circuit diagram.
R
W
B
Contactor2
L1
L2
L3
T1
T2
T3
A1
A2
NO
NO
NC
NC
3M1
A1
B1
C1
E
Circuit Diagram
Overload Relay1
L1
L2
L3
T1
T2
T3
NO
NO
NC
NC
Overload Relay2
L1
L2
L3
T1
T2
T3
NO
NO
NC
NC
MPCB1
L1
L2
L3
T1
T2
T3
3M2
A1
B1
C1
E

## Slide 36: Video Briefing – Vid02
Video of an expert electrician wiring up the 1 and 2 contactor coils in series with start buttons, retaining contacts, stop buttons and the overload relay NC contactors. Highlight the following.
You can tap power for the coil and control circuit from any 2 phases or from any phase and Neutral (if you have a 4 wire supply). Must make sure you wire in a circuit breaker to protect the control circuit from excess current.
Explain why we need an overload relay for both motors – both motors will be running. Different from reversing starter where we could use only one to save costs as it was only possible for 1 motor to run at a time.
When wired demonstrate how it works
Draw and explain the control circuit that reflects that current situation.

## Slide 37: Image Briefing – Img09a
-K(2)
-K(1)
-Start(1)
-Start(2)
L2/3/N
L1
OL(1)
-K(1)
-K(R)
-Stop(1)
-Stop(2)
-K(2)
-K(1)
E/S
OL(2)

## Slide 38: Image Briefing – Img09b
-K(2)
-K(1)
-Start(1)
-Start(2)
L2/3/N
L1
OL(1)
-K(1)
-K(R)
-Stop(1)
-Stop(2)
-K(2)
-K(1)
E/S
OL(2)

## Slide 39: Image Briefing – Img09c
-K(2)
-K(1)
-Start(1)
-Start(2)
L2/3/N
L1
OL(1)
-K(1)
-K(R)
-Stop(1)
-Stop(2)
-K(1)
E/S
OL(2)

## Slide 40: Image Briefing – Img09d
-K(2)
-K(1)
-Start(1)
-Start(2)
L2/3/N
L1
OL(1)
-K(1)
-K(R)
-Stop(1)
-Stop(2)
-K(2)
E/S
OL(2)

## Slide 41: Video Briefing – Vid03
Video of an expert electrician wiring up the interlock contact.
Review what we want – 1 cannot start before 2 (show a picture of the conveyors)
What happens if we were to wire it like reversing starter? Would this work?
What kind of interlock contact do we need? NO or NC?
Do we interlock from 2 into 1, 1 into 2 or both?
Explain that we need to interlock a NO contact from 2 into 1 – explain that we need to use a contactor for motor 2 with at least 2 NO aux contacts – one for interlock and 1 for retaining
  When 2 not started, NO in 1 will be open so 1 cannot be started.
  When 2 started, NO will be closed and 1 can be started
  Can stop 1 and 2 keeps running – no problem
  If we stop 2, NO in 1 will open and stop 1 as well – no chance of 1 running WITHOUT 2 running.
Wire the NO interlock contact and demonstrate how everything works.

## Slide 42: Video Briefing – Vid04
Video of an expert electrician wiring in an emergency stop button.
Explain why it needs to be in series with both motors.
Wire the the button in
Demonstrate how everything works

## Slide 43: Image Briefing – Img13 (1 of 3)
Step 1:
This is the basic circuit we started with. It is the basic DOL starter for each motor including the retaining contacts.
Next
-K(2)
-K(1)
-Start(1)
-Start(2)
L2/3/N
L1
OL(1)
-K(1)
-K(2)
-Stop(1)
-Stop(2)
OL(2)
01
02
03
04
05
Notes: Create a series of 6 images that build up the full control circuit step by step.
Vitally important to standardise on all circuit symbols (TBA). On click of Next display the next image in the series.
Master diagram on far right.
NB that circuit components are NOT moved between images.

## Slide 44: Image Briefing – Img13 (2 of 3)
Step 2:
In order to make sure that motor 1 could no start until motor 2 was started, we added an interlock NO contact from motor 2 into motor 1.
Next
Back
-K(2)
-K(1)
-Start(1)
-Start(2)
L2/3/N
L1
OL(1)
-K(1)
-K(2)
-Stop(1)
-Stop(2)
-K(2)
OL(2)
01
02
03
04
05
Notes: Highlight the 2 retaining contacts
On click of Back display the previous image in the series

## Slide 45: Image Briefing – Img13 (3 of 3)
Step 3:
Finally, we added an emergency stop button in series with everything else in order to stop both motors in the case of an emergency.
Back
-K(2)
-K(1)
-Start(1)
-Start(2)
L2/3/N
L1
OL(1)
-K(1)
-K(2)
-Stop(1)
-Stop(2)
-K(2)
E/S
OL(2)
01
02
03
04
05
Notes: Highlight the 2 stop push buttons

## Slide 46: Interactive Briefing – Int02 (1 of 3)
Instructions
To add a wire between 2 points, click the starting connection and then click the ending connection.
To delete a wire, click on it and then click the Delete icon in the top right corner.
To change the colour of a wire, click on it and then click on the colour.
To move a component, click and drag it to a new position.
Practice
Connect the motor protection breaker circuit breaker up to the contactor
Test
Forward
L1
L2
L3
T1
T2
T3
A1
A2
NO
NO
NC
NC
MPCB
L1
L2
L3
T1
T2
T3
Notes: White circles on components are wire connection points
Make wires curve around components
When connected components are moved, have wires stay connected
On click of first connection, highlight connection point and start to draw wire and have end of wire follow finger/mouse until next connection. Use 2 second time delay on second connection before making the connection. When second connection is selected, highlight it also.

## Slide 47: Interactive Briefing – Int02 (2 of 3)
Contactor1
L1
L2
L3
T1
T2
T3
A1
A2
NO
NO
NO
NO
Test
Instructions
Print
Wire the 3P Reversing starter according to the control circuit diagram.
R
W
B
S2
1
Breaker1
L1
T1
Breaker2
L1
T1
Circuit Diagram
Contactor2
L1
L2
L3
T1
T2
T3
A1
A2
NO
NO
NO
NO
2
S1
ES
Overload Relay1
L1
L2
L3
T1
T2
T3
NO
NO
NC
NC
Overload Relay2
L1
L2
L3
T1
T2
T3
NO
NO
NC
NC
Notes: Fix position of power
Fix position of motor and terminals
Present other components unconnected and unpositioned.
Button01 = on click test circuit connections. Highlight all connections that are incorrect. See next slide for all correct connections
Button02 = display the instructions on previous slide in a pop-up window.
Button03 = print a jpg or pdf version of the final circuit for the learner to download and save.
Button04 = display the control circuit diagram as (Img13 3 of 3).

## Slide 48: Interactive Briefing – Int02 (2 of 3)
Contactor1
L1
L2
L3
T1
T2
T3
A1
A2
NO
NO
NO
NO
Test
Instructions
Print
Wire the 3P Reversing starter according to the control circuit diagram.
R
W
B
S2
1
Breaker1
L1
T1
Breaker2
L1
T1
Circuit Diagram
Contactor2
L1
L2
L3
T1
T2
T3
A1
A2
NO
NO
NO
NO
2
S1
ES
Overload Relay1
L1
L2
L3
T1
T2
T3
NO
NO
NC
NC
Overload Relay2
L1
L2
L3
T1
T2
T3
NO
NO
NC
NC

## Slide 49: Image Briefing – Img18
-K
-Start1
R
W
-K
-Stop1
1
2
3
4
5
6
7
8
-Stop2
-Start2

## Slide 50: Interactive Briefing – Int03 (1 of 3)
Instructions
To add a wire between 2 points, click the starting connection and then click the ending connection.
To delete a wire, click on it and then click the Delete icon in the top right corner.
To change the colour of a wire, click on it and then click on the colour.
To move a component, click and drag it to a new position.
Practice
Connect the motor protection breaker circuit breaker up to the contactor
Test
Forward
L1
L2
L3
T1
T2
T3
A1
A2
NO
NO
NC
NC
MPCB
L1
L2
L3
T1
T2
T3
Notes: White circles on components are wire connection points
Make wires curve around components
When connected components are moved, have wires stay connected
On click of first connection, highlight connection point and start to draw wire and have end of wire follow finger/mouse until next connection. Use 2 second time delay on second connection before making the connection. When second connection is selected, highlight it also.

## Slide 51: Interactive Briefing – Int03 (2 of 3)
Contactor1
L1
L2
L3
T1
T2
T3
A1
A2
NO
NO
NO
NO
Test
Instructions
Print
Wire the 3P Scenario 1 starter according to your control circuit diagram.
R
W
B
S2
1
Breaker1
L1
T1
Breaker2
L1
T1
Contactor2
L1
L2
L3
T1
T2
T3
A1
A2
NO
NO
NO
NO
2
S1
ES
Overload Relay1
L1
L2
L3
T1
T2
T3
NC
NC
NC
NC
Overload Relay2
L1
L2
L3
T1
T2
T3
NC
NC
NC
NC
Notes: Fix position of power
Fix position of motor and terminals
Present other components unconnected and unpositioned.
Button01 = on click test circuit connections. Highlight all connections that are incorrect. See next slide for all correct connections
Button02 = display the instructions on previous slide in a pop-up window.
Button03 = print a jpg or pdf version of the final circuit for the learner to download and save.

## Slide 52: Interactive Briefing – Int03 (2 of 3)
Contactor1
L1
L2
L3
T1
T2
T3
A1
A2
NO
NO
NO
NO
Test
Instructions
Print
Wire the 3P Scenario1 starter according to your control circuit diagram.
R
W
B
S2
1
Breaker1
L1
T1
Breaker2
L1
T1
Contactor2
L1
L2
L3
T1
T2
T3
A1
A2
NO
NO
NO
NO
2
S1
ES
Overload Relay1
L1
L2
L3
T1
T2
T3
NC
NC
NC
NC
Overload Relay2
L1
L2
L3
T1
T2
T3
NC
NC
NC
NC

## Slide 53: Video Briefing – Vid05 (1 of 2)
Video of an expert electrician designing and drawing the control circuit for scenario Review requirements
Draw diagram explaining step by step
  Start with the ES, Start(1), Start(2), Stop(1) and Stop(2)
  Add in retaining contacts
  Add in NO -K(1) interlock in series to M2
  Add in Overload(1) and Overload (2)
  Add in OL NC contact in series to M2
  Add in NO –K(2) in parallel across Stop(1)
See diagram of next page for an example the required control circuit.

## Slide 54: Video Briefing – Vid05 (2 of 2)
-K(2)
-K(1)
-Start(1)
-Start(2)
L2/3/N
L1
OL(1)
-K(1)
-K(2)
-Stop(1)
-Stop(2)
E/S
OL(2)
01
02
03
04
05
-K(2)
-K(1)
OL(1)

## Slide 55: Interactive Briefing – Int04 (1 of 3)
Instructions
To add a wire between 2 points, click the starting connection and then click the ending connection.
To delete a wire, click on it and then click the Delete icon in the top right corner.
To change the colour of a wire, click on it and then click on the colour.
To move a component, click and drag it to a new position.
Practice
Connect the motor protection breaker circuit breaker up to the contactor
Test
Forward
L1
L2
L3
T1
T2
T3
A1
A2
NO
NO
NC
NC
MPCB
L1
L2
L3
T1
T2
T3
Notes: White circles on components are wire connection points
Make wires curve around components
When connected components are moved, have wires stay connected
On click of first connection, highlight connection point and start to draw wire and have end of wire follow finger/mouse until next connection. Use 2 second time delay on second connection before making the connection. When second connection is selected, highlight it also.

## Slide 56: Interactive Briefing – Int04 (2 of 3)
Contactor1
L1
L2
L3
T1
T2
T3
A1
A2
NO
NO
NO
NO
Test
Instructions
Print
Wire the 3P Scenario 1 starter according to your control circuit diagram.
R
W
B
S2
1
Breaker1
L1
T1
Breaker2
L1
T1
Contactor2
L1
L2
L3
T1
T2
T3
A1
A2
NC
NC
NO
NO
2
S1
ES
Overload Relay1
L1
L2
L3
T1
T2
T3
NC
NC
NC
NC
Overload Relay2
L1
L2
L3
T1
T2
T3
NC
NC
NC
NC
Notes: Fix position of power
Fix position of motor and terminals
Present other components unconnected and unpositioned.
Button01 = on click test circuit connections. Highlight all connections that are incorrect. See next slide for all correct connections
Button02 = display the instructions on previous slide in a pop-up window.
Button03 = print a jpg or pdf version of the final circuit for the learner to download and save.

## Slide 57: Interactive Briefing – Int04 (2 of 3)
Contactor1
L1
L2
L3
T1
T2
T3
A1
A2
NO
NO
NO
NO
Test
Instructions
Print
Wire the 3P Scenario 1 starter according to your control circuit diagram.
R
W
B
S2
1
Breaker1
L1
T1
Breaker2
L1
T1
Contactor2
L1
L2
L3
T1
T2
T3
A1
A2
NC
NC
NO
NO
2
S1
ES
Overload Relay1
L1
L2
L3
T1
T2
T3
NC
NC
NC
NC
Overload Relay2
L1
L2
L3
T1
T2
T3
NC
NC
NC
NC

## Slide 58: Video Briefing – Vid06 (1 of 2)
Video of an expert electrician designing and drawing the control circuit for scenario Review requirements
Draw diagram explaining step by step
  Start with the ES, Start(1), Start(2), Stop(1) and Stop(2)
  Add in retaining contacts
  Add in NO -K(1) interlock in series to M2
  Add in NO –K(2) contact in parallel with NO –K(1) interlock
  Add in NC –K(2) interlock in series to M1
  Add in NO –K(1) contact in parallel with NC –K(2) interlock
See diagram of next page for an example the required control circuit.

## Slide 59: Video Briefing – Vid06 (2 of 2)
-K(2)
-K(1)
-Start(1)
-Start(2)
L2/3/N
L1
OL(1)
-K(1)
-K(2)
-Stop(1)
-Stop(2)
E/S
OL(2)
01
02
03
04
05
-K(1)
-K(2)
-K(2)
-K(1)