## Slide 1: Three Phase Motors
Topic 5: Connecting and Starting Three Phase Pole Changing Motors

## Slide 2: Assumed prior learning
05_01_00
05_01_02
05_02_01
Notes: Note for navigation on site:
This information needs to be taken into account and needs to stated on the LMS, perhaps as part of the introduction?

## Slide 3: Outcomes
By the end of this unit you will be able to:
Wire the main circuit of a pole changing motor starter with contactors;
Wire the control circuit of a pole changing motor starter with contacts; and
Explain the benefits of using contactors instead of a selector switch.

## Slide 4: Unit 5.2: Pole Changing Motor Selector Switch Starter

## Slide 5: Introduction
In the previous unit, we learnt how to use a selector switch to manually change the speed of a pole changing motor.
Using a manual selector switch has the disadvantage of needing a human to switch the motor between running speeds.
Using contactors allows us to make these changes automatically based on some input if we want to.
Using your knowledge of pole changing motors and the selector switch, how many contactors do you think will be needed?

## Slide 6: Remember contactors?
We dealt extensively with three phase contactors in topic 3 of this course “Connecting and starting three phase induction motors”. But you may need a refresher.
Click on the buttons to review the different aspects of contactors
What are contactors?
How are contactors wired?
What are auxiliary contacts?
Notes: Img01 = Img02 from 07_03_02
What are contactors = On click, play YT01 full screen. YT01 = https://www.youtube.com/watch?v=5Iujs94re_U
How are contactors wired = On click, play Vid01 from 07_03_02 full screen
What are auxiliary contacts = On click, play Vid02 from 07_03_02 full screen

## Slide 7: Safety first
When you work with motors you must put your safety and the safety of others first. You must complete the necessary Hazard Identification and Control (HIAC) Form.
Get help with HIAC Forms
Need help with HIACs? Click the button to go to Topic X in The World of an Electrician
Notes: Img01 = https://cdn.pixabay.com/photo/2014/04/02/10/38/sign-304093_960_720.png
Button 01 = direct learner to Topic X in Course 0

## Slide 8: Before We Begin
Before you do any work on a motor, you must make sure that you have isolated and locked out the supply to the motor.
Learn about Isolating and Lock-Out Procedures
Make sure you know how to do this by referring to Topic X in The World of An Electrician.
Notes: Img02 =
Button 01 = direct learner to Topic X in Course 0

## Slide 9: The main circuit
We need three contactors for the basic pole changing motor starter – one for the low speed and two for the high speed.
Int01
Click on the image to see how these contactors are wired and how they work.
Notes: Int01 = screenshot of Int01. On click, open Int01 full screen See appendix for Int01 brief.

## Slide 10: Wire up the main circuit
Did you notice that the main circuit is identical for both delta and star connected motors? Now practice wiring a pole-changing starter with contactors.
Click on the image to access the motor wiring simulator. Click on the button if you would like to watch a video of the motor being wired.
Int02
Notes: Int02 = On click of Int02 screenshot, open Int02 full screen. See the Appendix for Int02 brief.

## Slide 11: The main circuit
Draw your own main circuit for the pole changing motor starter that uses three contactors. Then take a picture of your circuit and upload it to your online portfolio.
Choose image
Upload
Notes: Img04 = https://cdn.pixabay.com/photo/2016/01/03/00/43/upload-1118929_960_720.png
Button01 – Launch file selection window
Button02 – Upload file

## Slide 12: The control circuit
The control circuit is a little more complicated than the main circuit. Let’s take a look at it piece by piece.
Click on the buttons to see the control circuit explained step by step.
Step 1: Basic slow circuit
1
Step 2: Basic fast circuit
2
Step 3: Bridging circuit
3
Step 4: Interlocks
4
Notes: Button 1 = On click, play step 1 of Vid01 full screen. See appendix for Vid01 brief.
Button 2 = On click, play step 2 of Vid01 full screen. See appendix for Vid01 brief.
Button 3 = On click, play step 3 of Vid01 full screen. See appendix for Vid01 brief.
Button 4 = On click, play step 4 of Vid01 full screen. See appendix for Vid01 brief.

## Slide 13: The control circuit
Draw your own control circuit for the pole changing motor starter that uses three contactors. Then take a picture of your circuit and upload it to your online portfolio.
Choose image
Upload
Notes: Img04 = https://cdn.pixabay.com/photo/2016/01/03/00/43/upload-1118929_960_720.png
Button01 – Launch file selection window
Button02 – Upload file

## Slide 14: Wire up the control circuit
Practice wiring the control circuit for the pole-changing starter with contactors.
Click on the image to access the motor wiring simulator. Click on the button if you would like to watch a video of the motor being wired.
Int03
Notes: Int03 = On click of Int03 screenshot, open Int03 full screen. See the Appendix for Int03 brief.

## Slide 15: Conclusion
You have completed this unit on the pole changing motor starter. In this unit, you learnt how to:
Wire the main circuit of a pole changing motor starter with contactors;
Wire the control circuit of a pole changing motor starter with contacts; and
Explain the benefits of using contactors instead of a selector switch.
Notes: Int03 = On click of Int03 screenshot, open Int03 full screen. See the Appendix for Int03 brief.

## Slide 16: Interactive Briefing – Int01 (1 of 6)
Create a simple slideshow indicating how the three main contactors of the pole changing motor starter work.
Redraw the image and add the indicated buttons and instructions.
Clicking on the motor toggles between this slide (slide 1) and slide 4
Clicking on Slow goes to slide 2
Clicking on Fast goes to slide 3
Reset
Fast
Slow
Click on the motor to change from delta to star connection.
Slide 1 (Delta off)
Notice the motor symbol

## Slide 17: Interactive Briefing – Int01 (2 of 6)
Redraw the image and add the indicated buttons and instructions as well as the highlights which show where current is flowing.
Clicking on the motor toggles between this slide (slide 2) and slide 4
Clicking on Reset goes to slide 1
Clicking on Fast goes to slide 3
Reset
Fast
Slow
Click on the motor to change from delta to star connection.
Slide 2 (Delta slow)
Energised

## Slide 18: Interactive Briefing – Int01 (3 of 6)
Redraw the image and add the indicated buttons and instructions as well as the highlights which show where current is flowing.
Clicking on the motor toggles between this slide (slide 3) and slide 4
Clicking on Reset goes to slide 1
Clicking on Slow goes to slide 2
Reset
Fast
Slow
Click on the motor to change from delta to star connection.
Slide 3 (Delta Fast)
Energised
Energised

## Slide 19: Interactive Briefing – Int01 (4 of 6)
Redraw the image and add the indicated buttons and instructions.
Clicking on the motor toggles between this slide (slide 4) and slide 1
Clicking on Slow goes to slide 5
Clicking on Fast goes to slide 6
Reset
Fast
Slow
Click on the motor to change from delta to star connection.
Slide 4 (Star Off)
Notice the motor symbol

## Slide 20: Interactive Briefing – Int01 (5 of 6)
Redraw the image and add the indicated buttons and instructions as well as the highlights which show where current is flowing.
Clicking on the motor toggles between this slide (slide 5) and slide 1
Clicking on Fast goes to slide 6
Clicking on Reset goes to slide 4
Reset
Fast
Slow
Click on the motor to change from delta to star connection.
Slide 5 (Star slow)
Energised

## Slide 21: Interactive Briefing – Int01 (6 of 6)
Redraw the image and add the indicated buttons and instructions as well as the highlights which show where current is flowing.
Clicking on the motor toggles between this slide (slide 6) and slide 1
Clicking on Reset goes to slide 4
Clicking on Slow goes to slide 5
Reset
Fast
Slow
Click on the motor to change from delta to star connection.
Slide 6 (Star Fast)
Energised
Energised

## Slide 22: Interactive Briefing – Int02 (1 of 3)
Instructions
To add a wire between 2 points, click the starting connection and then click the ending connection.
To delete a wire, click on it and then click the Delete icon in the top right corner.
To change the colour of a wire, click on it and then click on the colour.
To move a component, click and drag it to a new position.
Practice
Connect the motor protection circuit breaker up to the contactor
Test
Forward
L1
L2
L3
T1
T2
T3
A1
A2
NO
NO
NC
NC
MPCB
L1
L2
L3
T1
T2
T3
Notes: White circles on components are wire connection points
Make wires curve around components
When connected components are moved, have wires stay connected
On click of first connection, highlight connection point and start to draw wire and have end of wire follow finger/mouse until next connection. Use 2 second time delay on second connection before making the connection. When second connection is selected, highlight it also.

## Slide 23: Interactive Briefing – Int04 (2 of 3)
Contactor F
L1
L2
L3
T1
T2
T3
A1
A2
NO
NO
NC
NC
MPCB
L1
L2
L3
T1
T2
T3
Test
Instructions
Print
Wire the 3P pole changing motor according to the circuit diagram.
R
W
B
3M
A3
B3
C3
Overload Relay
L1
L2
L3
T1
T2
T3
E
Circuit Diagram
A2
B2
C2
Contactor S
L1
L2
L3
T1
T2
T3
A1
A2
NO
NO
NC
NC
Contactor B
L1
L2
L3
T1
T2
T3
A1
A2
NO
NO
NC
NC
Overload Relay
L1
L2
L3
T1
T2
T3
Notes: Fix position of power
Fix position of motor and terminals
Present other components unconnected and unpositioned.
Button01 = on click test circuit connections. Highlight all connections that are incorrect. See next slide for all correct connections
Button02 = display the instructions on previous slide in a pop-up window.
Button03 = print a jpg or pdf version of the final circuit for the learner to download and save.
Button04 = open the main circuit diagram (see Img03). Redraw Img03

## Slide 24: Interactive Briefing – Int04 (2 of 3)
Contactor F
L1
L2
L3
T1
T2
T3
A1
A2
NO
NO
NC
NC
MPCB
L1
L2
L3
T1
T2
T3
Test
Instructions
Print
Wire the 3P pole changing motor according to the circuit diagram.
R
W
B
Overload Relay
L1
L2
L3
T1
T2
T3
Circuit Diagram
3M
A3
B3
C3
E
A2
B2
C2
Contactor S
L1
L2
L3
T1
T2
T3
A1
A2
NO
NO
NC
NC
Contactor B
L1
L2
L3
T1
T2
T3
A1
A2
NO
NO
NC
NC
Overload Relay
L1
L2
L3
T1
T2
T3
Notes: Fix position of power
Fix position of motor and terminals
Present other components unconnected and unpositioned.
Button01 = on click test circuit connections. Highlight all connections that are incorrect. See next slide for all correct connections
Button02 = display the instructions on previous slide in a pop-up window.
Button03 = print a jpg or pdf version of the final circuit for the learner to download and save.
Button04 = open the main circuit diagram (see Img03). Redraw Img03

## Slide 25: Video Briefing – Vid01 (1 of 4)
Create a screencast video of an expert electrician explaining the pole changing starter control circuit using a diagram like this one.
Step 1: Cover basic circuit protection, overload relay aux, ES button, SO button, SS button, -S contactor and –S retaining contact
-S (slow)
L2/3
ES (emergency stop)
-OL (Overload relay)
L1
SO (slow stop)
SS (slow start)
-S

## Slide 26: Video Briefing – Vid01 (2 of 4)
Step 2: Add in FO (fast stop button), FS (fast start button), -F (fast contactor) and retaining –F contact
-S
L2/3
ES
-OL
L1
SO
SS
-S
-F
FS
-F
FO

## Slide 27
Step 3: Add in –B (bridging contactor) and the –B retaining contact over the FS button so that the motor will not run in high speed unless both –F and –B are energised.
-S
L2/3
ES
-OL
L1
SO
SS
-S
-F
FS
-F
FO
-B
-B
Video Briefing – Vid01 (3 of 4)

## Slide 28: Video Briefing – Vid01 (4 of 4)
Step 4: Add in the following interlocks:
-F and –B (NC) on the slow circuit so that slow circuit cannot run if either –F or –B are energised
-S (NC) on the fast circuit so that it cannot run if –S is energised
-S
L2/3
ES
-OL
L1
SO
SS
-S
-F
FS
-F
FO
-B
-B
-F
-B
-S

## Slide 29: Interactive Briefing – Int04 (1 of 3)
Instructions
To add a wire between 2 points, click the starting connection and then click the ending connection.
To delete a wire, click on it and then click the Delete icon in the top right corner.
To change the colour of a wire, click on it and then click on the colour.
To move a component, click and drag it to a new position.
Practice
Connect the motor protection breaker circuit breaker up to the contactor
Test
Forward
L1
L2
L3
T1
T2
T3
A1
A2
NO
NO
NC
NC
MPCB
L1
L2
L3
T1
T2
T3
Notes: White circles on components are wire connection points
Make wires curve around components
When connected components are moved, have wires stay connected
On click of first connection, highlight connection point and start to draw wire and have end of wire follow finger/mouse until next connection. Use 2 second time delay on second connection before making the connection. When second connection is selected, highlight it also.

## Slide 30: Interactive Briefing – Int04 (2 of 3)
ContactorS
L1
L2
L3
T1
T2
T3
A1
A2
NO
NO
NC
NC
Test
Instructions
Print
Wire the control circuit for a pole-changing motor according to the circuit diagram.
R
W
B
ES
Fast Start
Breaker1
L1
T1
Breaker2
L1
T1
Circuit Diagram
Overload Relay
L1
L2
L3
T1
T2
T3
NO
NO
NC
NC
ContactorF
L1
L2
L3
T1
T2
T3
A1
A2
NO
NO
NC
NC
ContactorB
L1
L2
L3
T1
T2
T3
A1
A2
NO
NO
NC
NC
Slow Start
Fast Stop
Slow Stop
Notes: Fix position of power
Fix position of motor and terminals
Present other components unconnected and unpositioned.
Button01 = on click test circuit connections. Highlight all connections that are incorrect. See next slide for all correct connections
Button02 = display the instructions on previous slide in a pop-up window.
Button03 = print a jpg or pdf version of the final circuit for the learner to download and save.
Button04 = open the main circuit diagram (see Img04). Redraw Img04

## Slide 31: Interactive Briefing – Int04 (2 of 3)
ContactorS
L1
L2
L3
T1
T2
T3
A1
A2
NO
NO
NC
NC
Test
Instructions
Print
Wire the control circuit for a pole-changing motor according to the circuit diagram.
R
W
B
ES
Fast Start
Breaker1
L1
T1
Breaker2
L1
T1
Circuit Diagram
Overload Relay
L1
L2
L3
T1
T2
T3
NO
NO
NC
NC
ContactorF
L1
L2
L3
T1
T2
T3
A1
A2
NO
NO
NC
NC
ContactorB
L1
L2
L3
T1
T2
T3
A1
A2
NO
NO
NC
NC
Slow Start
Fast Stop
Slow Stop
Notes: Fix position of power
Fix position of motor and terminals
Present other components unconnected and unpositioned.
Button01 = on click test circuit connections. Highlight all connections that are incorrect. See next slide for all correct connections
Button02 = display the instructions on previous slide in a pop-up window.
Button03 = print a jpg or pdf version of the final circuit for the learner to download and save.
Button04 = open the main circuit diagram (see Img04). Redraw Img04